## SUMMARY
Project ID:
Address:
No. of Floors: | 2
Building GSF | 459
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | TOTAL DIV. COST (PER SF)
1000 | Overhead and Preliminaries | 51463.08 | 112.12
2000 | Existing Conditions/ Sitework | 2683.2836 | 5.8459
3000 | Concrete | 3843.5954 | 8.3738
4000 | Masonry | 158074.8598 | 344.3897
5000 | Metal | 234366.188 | 510.6017
6000 | Wood, Plastic And Composites | 44010.3146 | 95.883
7000 | Thermal And Moisture Protection | 33733.3438 | 73.4931
8000 | Openings | 307136.8492 | 669.1435
9000 | Finishes | 163707.8493 | 356.662
10000 | Specialities | 15966.65 | 34.7857
11000 | Equipmant | 14370.65 | 31.3086
12000 | Furnishes | 63130.9714 | 137.5402
22000 | Plumbing | 54999.0813 | 119.8237
23000 | HVAC/ Mechanical | 20000 | 43.573
26000 | Electrical | 45716.8632 | 99.601
31000 | Excavation | 0 | 0
32000 | Exterior Improvements | 111640.1137 | 243.2246
33000 | Utilities | 0 | 0
SUBTOTAL CONSTRUCTION COST |  | 1324843.6932 | 2886.3697
PROFIT | 15% | 198726.554 | 432.9555
TOTAL PROJECT COST |  | 1523570.2472 | 0
GST | 10% | 152357.0247 | 288.637
TOTAL PROJECT COST INCL. GST |  | 1675927.2719 | 3607.9621

## MATERIAL TAKE-OFF
Project: | 0
Address: | 0
Scope: | GC
Date: | 2026-02-19
SR # | REF. SHEET # | DESCRIPTION | QUANTITY | UNIT | LABOR RATE | TOTAL LABOUR COST | MATERIAL RATE | TOTAL MATETRIAL COST | EQUIPMENT RATE | TOTAL EQUIPMENT COSTS | SUB COST | NOTE / REMARKS
01. OVERHEAD AND PREMLIMINARIES
1 |  | Overhead and Preliminaries | 459 | M2 | 21.67 | 9946.53 | 2.91 | 1335.69 | 87.54 | 40180.86 | 51463.08
[10 empty] | SUBTOTAL | 51463.08
02. EXISTING CONDITIONS/ SITE WORK
Archi Demolition
2 | ED101 ED103 | Window To Be Removed | 10 | EA | 3.25 | 32.5 | 0 | 0 | 0 | 0 | 32.5
3 |  | Door To Be Removed | 15 | EA | 4.75 | 71.25 | 0 | 0 | 0 | 0 | 71.25
4 |  | (824mm x 3580mm) Sunshade To Be Removed | 1 | EA | 4.35 | 4.35 | 0 | 0 | 0 | 0 | 4.35
5 |  | (790mm x 1750mm) Sunshade To Be Removed | 1 | EA | 4.35 | 4.35 | 0 | 0 | 0 | 0 | 4.35
6 |  | (480mm x 2230mm) Sunshade To Be Removed | 1 | EA | 4.35 | 4.35 | 0 | 0 | 0 | 0 | 4.35
7 |  | Remove Sunshade | 1 | EA | 4.35 | 4.35 | 0 | 0 | 0 | 0 | 4.35
8 |  | Wall To Be Removed (2.34m H) | 5.7798 | M2 | 5.23 | 30.2284 | 0 | 0 | 0 | 0 | 30.2284
9 |  | Wall To Be Removed (1m H) | 3.45 | M2 | 5.23 | 18.0435 | 0 | 0 | 0 | 0 | 18.0435
10 |  | Wall To Be Removed (2.6m H) | 5.408 | M2 | 5.23 | 28.2838 | 0 | 0 | 0 | 0 | 28.2838
11 |  | Wall To Be Removed (2.8m H) | 11.312 | M2 | 5.23 | 59.1618 | 0 | 0 | 0 | 0 | 59.1618
12 |  | Wall To Be Removed (2.13m H) | 1.6188 | M2 | 5.23 | 8.4663 | 0 | 0 | 0 | 0 | 8.4663
13 |  | Wall To Be Removed (3m H) | 98.79 | M2 | 5.23 | 516.6717 | 0 | 0 | 0 | 0 | 516.6717
14 |  | Wall Base To Be Removed | 39.52 | M | 5.23 | 206.6896 | 0 | 0 | 0 | 0 | 206.6896
15 |  | Stairs To Be Removed Along W/ Framing | 4.36 | M2 | 2.98 | 12.9928 | 0 | 0 | 0 | 0 | 12.9928
16 |  | Remove Kitchen Appliances Along W/ Cabinets | 0.74 | M2 | 6.13 | 4.5362 | 0 | 0 | 0 | 0 | 4.5362
17 |  | Remove Flooring Along W/ Ceiling | 107.72 | M2 | 7.22 | 777.7384 | 0 | 0 | 0 | 0 | 777.7384
18 |  | Remove Roofing Entirely Including Finishes, Framing e.t.c | 35.63 | M2 | 9.32 | 332.0716 | 0 | 0 | 0 | 0 | 332.0716
Site Demolition
19 |  | Remove Conc.Kerb | 20.47 | M | 7.85 | 160.6895 | 0 | 0 | 0 | 0 | 160.6895
20 |  | Remove Concrete Driveway | 49.28 | M2 | 8.25 | 406.56 | 0 | 0 | 0 | 0 | 406.56
[10 empty] | SUBTOTAL | 2683.2836
03. CONCRETE
Strip Footing
21 | PD102 PD103 | (200mm W x 250mm H) Reinforced Strip Footing | 0.477 | M3 | 26.45 | 12.6166 | 148.32 | 70.7486 | 13.25 | 6.3202 | 89.6855
22 |  | Formwork | 4.85 | M2 | 3.23 | 15.6655 | 5.98 | 29.003 | 1.12 | 5.432 | 50.1005
Isolated Footing
23 |  | (200mm SQ x 250mm H) Conc. Footing | 0.19 | M3 | 26.45 | 5.0255 | 148.32 | 28.1808 | 13.25 | 2.5175 | 35.7238
Slab
24 |  | (130mm Thick) Conc. Slab W/ Reinforcement. | 44.13 | M2 | 29.05 | 1281.9765 | 42.82 | 1889.6466 | 0.74 | 32.6562 | 3204.2793
25 |  | (50mm) Levelling Sand Bed | 44.13 | M2 | 4.44 | 195.9372 | 3.97 | 175.1961 | 2.1 | 92.673 | 463.8063
[10 empty] | SUBTOTAL | 3843.5954
04. MASONRY
Block Walls
26 | A-201 A-203 A-205 | (190MM x 190MM x 390MM)Thick Block Wall (200MM High) | 4.172 | M2 | 19.2975 | 80.5092 | 41.5 | 173.138 | 0 | 0 | 253.6472
27 |  | (190MM x190MM x 390MM) CMu Block | 57 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  | Grout | 0.33376 | M3 | 36.5025 | 12.1831 | 78.5 | 26.2002 | 0 | 0 | 38.3832
29 |  | (190 MM x 190MM x 390MM ) Block Wall (800 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 42 | M2 | 19.2975 | 810.495 | 41.5 | 1743 | 0 | 0 | 2553.495
30 |  | (190MM x 190MM x390MM) CMu Blocks | 567 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  | Grout | 3.36 | M3 | 36.5025 | 122.6484 | 78.5 | 263.76 | 0 | 0 | 386.4084
32 |  | (190 MM x 190MM x 390MM ) Block Wall (1000 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 31.5 | M2 | 19.2975 | 607.8713 | 41.5 | 1307.25 | 0 | 0 | 1915.1213
33 |  | (190MM x 190MM x390MM) CMu Blocks | 425 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  | Grout | 2.52 | M3 | 36.5025 | 91.9863 | 78.5 | 197.82 | 0 | 0 | 289.8063
35 |  | (190 MM x 190MM x 390MM ) Block Wall (2200 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 52.778 | M2 | 20.2275 | 1067.567 | 43.5 | 2295.843 | 0 | 0 | 3363.41
36 |  | (190MM x 190MM x390MM) CMu Blocks | 712 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 |  | Grout | 4.2222 | M3 | 36.5025 | 154.1223 | 78.5 | 331.4458 | 0 | 0 | 485.5682
38 |  | (190MM x 190MM x 390MM) Block Wall (2500MM H) Reinforced w/ - N16-400 Vertical Rebars - N12-400 Horizontal Rebars | 419.85 | M2 | 20.2275 | 8492.5159 | 43.5 | 18263.475 | 0 | 0 | 26755.9909
39 |  | (190MM x190MM x 390MM) CMu Block | 5666 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  | Grout | 33.588 | M3 | 36.5025 | 1226.046 | 78.5 | 2636.658 | 0 | 0 | 3862.704
41 |  | (190 MM x 190MM x 390MM ) Block Wall (2600 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 578 | M2 | 20.2275 | 11691.495 | 43.5 | 25143 | 0 | 0 | 36834.495
42 |  | (190MM x 190MM x390MM) CMu Blocks | 7800 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 |  | Grout | 46.24 | M3 | 36.5025 | 1687.8756 | 78.5 | 3629.84 | 0 | 0 | 5317.7156
44 |  | (190 MM x 190MM x 390MM ) Block Wall (2700 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 45.36 | M2 | 20.2275 | 917.5194 | 43.5 | 1973.16 | 0 | 0 | 2890.6794
45 |  | (190MM x 190MM x390MM) CMu Blocks | 612 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 |  | Grout | 3.6288 | M3 | 36.5025 | 132.4603 | 78.5 | 284.8608 | 0 | 0 | 417.3211
47 |  | (190 MM x 190MM x 390MM ) Block Wall (2800 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 4.424 | M2 | 20.2275 | 89.4865 | 43.5 | 192.444 | 0 | 0 | 281.9305
48 |  | (190MM x 190MM x390MM) CMu Blocks | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  | Grout | 0.35392 | M3 | 36.5025 | 12.919 | 78.5 | 27.7827 | 0 | 0 | 40.7017
50 |  | (190 MM x 190MM x 390MM ) Block Wall (3100 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 37.789 | M2 | 20.2275 | 764.377 | 43.5 | 1643.8215 | 0 | 0 | 2408.1985
51 |  | (190MM x 190MM x390MM) CMu Blocks | 510 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 |  | Grout | 3.0231 | M3 | 36.5025 | 110.3514 | 78.5 | 237.3149 | 0 | 0 | 347.6664
53 |  | (190 MM x 190MM x 390MM ) Block Wall (3200 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 99.456 | M2 | 20.2275 | 2011.7462 | 43.5 | 4326.336 | 0 | 0 | 6338.0822
54 |  | (190MM x 190MM x390MM) CMu Blocks | 1342 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  | Grout | 7.9565 | M3 | 36.5025 | 290.4314 | 78.5 | 624.5837 | 0 | 0 | 915.0151
56 |  | (190 MM x 190MM x 390MM ) Block Wall (3400 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 47.94 | M2 | 20.2275 | 969.7064 | 43.5 | 2085.39 | 0 | 0 | 3055.0963
57 |  | (190MM x 190MM x390MM) CMu Blocks | 647 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 |  | Grout | 3.8352 | M3 | 36.5025 | 139.9944 | 78.5 | 301.0632 | 0 | 0 | 441.0576
59 |  | (190 MM x 190MM x 390MM ) Block Wall (3500 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 32.76 | M2 | 20.2275 | 662.6529 | 43.5 | 1425.06 | 0 | 0 | 2087.7129
60 |  | (190MM x 190MM x390MM) CMu Blocks | 442 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 |  | Grout | 2.6208 | M3 | 36.5025 | 95.6658 | 78.5 | 205.7328 | 0 | 0 | 301.3986
62 |  | (190 MM x 190MM x 390MM ) Block Wall (3600 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 25.128 | M2 | 20.2275 | 508.2766 | 43.5 | 1093.068 | 0 | 0 | 1601.3446
63 |  | (190MM x 190MM x390MM) CMu Blocks | 339 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  | Grout | 2.0102 | M3 | 36.5025 | 73.3788 | 78.5 | 157.8038 | 0 | 0 | 231.1826
65 |  | (190 MM x 190MM x 390MM ) Block Wall (2000 MM H) Reinforced W/ - N16- 400 Vert. Bars (central) - N12- 400 Horz. Bars (Central) | 39.54 | M2 | 20.2275 | 799.7954 | 43.5 | 1719.99 | 0 | 0 | 2519.7854
66 |  | (190MM x 190MM x390MM) CMu Blocks | 534 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 |  | Grout | 3.1632 | M3 | 36.5025 | 115.4647 | 78.5 | 248.3112 | 0 | 0 | 363.7759
Retaining Wall
68 |  | RW1: Retaining Wall (600MM H) 190 Block Height W/ N12-400 C/C Horz. & N12-400 C/C/ Vert. Bar | 3.594 | M2 | 19.7625 | 71.0264 | 42.5 | 152.745 | 0 | 0 | 223.7714
69 |  | (190MM x 190MM x390MM) CMu Blocks | 49 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 |  | Grout | 0.28752 | M3 | 36.5025 | 10.4952 | 78.5 | 22.5703 | 0 | 0 | 33.0655
Lintels
71 |  | 190x400 Block Lintel Reinforce W/ - 2N16 Cont. Rebar In Each Course With W8-200 Ties | 132 | M | 21.6225 | 2854.17 | 46.5 | 6138 | 0 | 0 | 8992.17
72 |  | (190MM x 190MM x390MM) CMu Blocks | 713 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 |  | Grout | 4.224 | M3 | 36.5025 | 154.1866 | 78.5 | 331.584 | 0 | 0 | 485.7706
74 |  | Brick Lintel (5 M) 90x90x6 Angle Section | 41 | KG | 3.4875 | 142.9875 | 7.5 | 307.5 | 0 | 0 | 450.4875
Bond Beam
75 |  | (190MM x 190MM x 390MM) Bond BeaM Reinforced w/ - N16 Cont. Rebar | 616.79 | M | 20.2275 | 12476.1197 | 43.5 | 26830.365 | 0 | 0 | 39306.4847
76 |  | (190MM x190MM x 390MM) CMu Block | 1582 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  | Grout | 9.3632 | M3 | 36.5025 | 341.7802 | 78.5 | 735.0112 | 0 | 0 | 1076.7914
Brick
78 |  | Brick Work Brick Size: 360MM x 110MM x 86MM | 22 | M2 | 17.4375 | 383.625 | 37.5 | 825 | 0 | 0 | 1208.625
79 |  | No. Of Bricks | 711 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | SUBTOTAL | 158074.8598
05. METAL
| PD101 PD102 PD103 PD201 PD202 | Column
80 |  | (89x89x5.0) SHS Steel Column (3m H) (15 EA) | 594 | KG | 74.68 | 44359.92 | 129.54 | 76946.76 | 0 | 0 | 121306.68
81 |  | (89x89x5.0) SHS Steel Column (3.9m H) (6 EA) | 308.88 | KG | 74.68 | 23067.1584 | 129.54 | 40012.3152 | 0 | 0 | 63079.4736
Plates
82 |  | 305mm x 305mm x 12.7mm Base Plates (19 EA) | 176.7 | KG | 14.66 | 2590.422 | 10.25 | 1811.175 | 0 | 0 | 4401.597
83 |  | 305mm x 305mm x 12.7mm Base Plates (19 EA) | 176.7 | KG | 14.66 | 2590.422 | 10.25 | 1811.175 | 0 | 0 | 4401.597
Steel Stair Steps
84 |  | 250 x 8400 Concrete Filled Metal Pan @ Exterior Stairs | 3 | EA | 24.35 | 73.05 | 135 | 405 | 13.25 | 39.75 | 517.8
85 |  | 250 x 2100 Concrete Filled Metal Pan @ Exterior Stairs | 3 | EA | 24.35 | 73.05 | 135 | 405 | 13.25 | 39.75 | 517.8
Steel Stringer
86 |  | C200 x 75 x 18 Stringer @ Stairs | 166.5 | KG | 85.43 | 14224.095 | 143.21 | 23844.465 | 0 | 0 | 38068.56
Railings
87 |  | (1.05m H) Steel Pipe Guard Rail | 4.99 | M | 22.12 | 110.3788 | 27.81 | 138.7719 | 0 | 0 | 249.1507
88 |  | (1m H) Wooden Handrail Assumed | 13.74 | M | 18.32 | 251.7168 | 22.34 | 306.9516 | 0 | 0 | 558.6684
89 |  | (0.9m H) Glass Rail W/ Balustrade Assumed | 22.29 | M | 21.54 | 480.1266 | 28.73 | 640.3917 | 0 | 0 | 1120.5183
90 |  | (0.8m H) Wooden Handrail W/ Pickets Assumed | 3.55 | M | 18.32 | 65.036 | 22.34 | 79.307 | 0 | 0 | 144.343
[10 empty] | SUBTOTAL | 234366.188
06. WOOD, PLASTIC AND COMPOSITES
| PD102 PD103 | Post
91 |  | (120mm x 120mm) Wooden Post (3 EA) | 8.01 | M | 8.624 | 69.0782 | 17.08 | 136.8108 | 0 | 0 | 205.889
Beam
92 |  | 120x45mm MGP10 | 30.31 | M | 2.14 | 64.8634 | 18.27 | 553.7637 | 0 | 0 | 618.6271
93 |  | 90x45mm MGP10 | 28.03 | M | 2.09 | 58.5827 | 18.24 | 511.2672 | 0 | 0 | 569.8499
Joist/ Rafters
94 |  | 120x50 Joist @ 480 O.C. (300.6 M2) | 668 | M | 1.9 | 1269.2 | 10.27 | 6860.36 | 0 | 0 | 8129.56
95 |  | (190x45) MGP10 Roof Rafter @ 450 O.C. (196.88 M2) | 437.5111 | M | 2.07 | 905.648 | 12.72 | 5565.1413 | 0 | 0 | 6470.7893
Stairs
96 |  | Timber Stair -(1180mm L x 260mm W) Tread = 4 EA - (1180mm L x 160mm H) Riser = 5 EA | 1 | EA | 614.7 | 614.7 | 1691.52 | 1691.52 | 0 | 0 | 2306.22
97 |  | Timber Stair -(990mm L x 260mm W) Tread = 18 EA - (990mm L x 160mm H) Riser = 19 EA | 1 | EA | 614.7 | 614.7 | 1691.52 | 1691.52 | 0 | 0 | 2306.22
Particle Board/ Sheathing
98 |  | 19mm Particle Board | 300.6 | M2 | 8.78 | 2639.268 | 15.46 | 4647.276 | 0 | 0 | 7286.544
99 |  | Plywood Sheathing | 196.88 | M2 | 7.53 | 1482.5064 | 13.51 | 2659.8488 | 0 | 0 | 4142.3552
100 |  | 1200mm × 2400mm No of Sheets | 69 | SHEETS | 5.45 | 376.05 | 7.32 | 505.08 | 0 | 0 | 881.13
101 |  | 8d common Nails | 4761 | EA | 1.1 | 5237.1 | 1.23 | 5856.03 | 0 | 0 | 11093.13
[10 empty] | SUBTOTAL | 44010.3146
07. THERMAL & MOISTURE PROTECTION
Roofing
102 | PD104 PD202 | Color Bond Custom ORB Cladding | 196.88 | M2 | 1.595 | 314.0236 | 24.9 | 4902.312 | 0 | 0 | 5216.3356
Gutter w/ Flashing
103 |  | Quad Color Bond Gutter Color/Model/Style: Wallaby | 77.41 | M | 8.9047 | 689.3167 | 19.15 | 1482.4015 | 0 | 0 | 2171.7182
104 |  | Ridge Flashing | 13.38 | M | 4.13 | 55.2594 | 6.75 | 90.315 | 0 | 0 | 145.5744
105 |  | Hip Flashing | 30.26 | M | 4.13 | 124.9738 | 6.75 | 204.255 | 0 | 0 | 329.2288
106 |  | Valley Flashing | 13.51 | M | 4.13 | 55.7963 | 6.75 | 91.1925 | 0 | 0 | 146.9888
Soffit
107 |  | 4.5mm Fiber Cement Sheeting Soffit | 86.38 | M | 5.4173 | 467.9421 | 11.65 | 1006.327 | 0 | 0 | 1474.2691
Fascia
108 |  | Color Bond Fascia Color/Model/Style: Wallaby | 86.38 | M | 7.6725 | 662.7505 | 16.5 | 1425.27 | 0 | 0 | 2088.0206
Downpipe
109 |  | Painted 90mm Dia Poly Vinyl Coated Downpipes | 11.94 | M | 8.2073 | 97.9946 | 17.65 | 210.741 | 0 | 0 | 308.7356
Insulation
110 |  | Glasswool Insulation @ Roof (R-5.0) | 196.88 | M2 | 6.3705 | 1254.224 | 13.7 | 2697.256 | 0 | 0 | 3951.48
111 |  | Glasswool Batts Insulation @ Walls (R-2.5) | 560.9 | M2 | 6.3473 | 3560.1725 | 13.65 | 7656.285 | 0 | 0 | 11216.4575
Moisture Protection
112 |  | Sealent At Walls | 569.3 | M | 2.0925 | 1191.2603 | 4.5 | 2561.85 | 0 | 0 | 3753.1102
113 |  | Breathable Membrane @ External Walls | 251.24 | M2 | 3.01 | 756.2324 | 2.75 | 690.91 | 0 | 0 | 1447.1424
114 |  | Liquid Applied membrane (Polyurethane/ Acrylic) @ Roof | 196.88 | M2 | 3.24 | 637.8912 | 2.86 | 563.0768 | 0 | 0 | 1200.968
115 |  | Vapour Barrier At Slab | 44.13 | M2 | 3.74 | 165.0462 | 2.68 | 118.2684 | 0 | 0 | 283.3146
[10 empty] | SUBTOTAL | 33733.3438
08. OPENING
Doors
116 | PD102 PD103 PD201 PD202 | (D.01/D1) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 333.68 | 333.68 | 0 | 0 | 390.37
117 |  | (D.01/D2) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
118 |  | (D.01/D3) (1600mm x 2340mm) Three Panel Sliding Door w/Timber Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
119 |  | (D.01/D4) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
120 |  | (D.01/D5) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
121 |  | (D.01/D6) (720mm x 2040mm) Single Leaf Sliding Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
122 |  | (D.01/D7) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
123 |  | (D.01/D8) (5500mm x 2400mm) Four Panel Tilt Panel Powdercoated Door w/Metal Frame | 1 | EA | 113.4 | 113.4 | 110.654 | 110.654 | 0 | 0 | 224.054
124 |  | (D.01/D9) (820mm x 2040mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
125 |  | (D.02/D1) (1020mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 355.43 | 355.43 | 0 | 0 | 412.12
126 |  | (D.02/D2) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
127 |  | (D.02/D3) (1800mm x 2340mm) Three Panel Sliding Door w/Timber Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
128 |  | (D.02/D4) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
129 |  | (D.02/D5) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
130 |  | (D.02/D6) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
131 |  | (D.02/D7) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
132 |  | (D.02/D8) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 333.68 | 333.68 | 0 | 0 | 390.37
133 |  | (D.02/D9) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 333.68 | 333.68 | 0 | 0 | 390.37
134 |  | (D.02/D10) (2400mm x 2400mm) Tilt Panel Powdercoat Door w/Metal Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
135 |  | (D.03/D1) (1020mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 355.43 | 355.43 | 0 | 0 | 412.12
136 |  | (D.03/D2) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
137 |  | (D.03/D3) (1800mm x 2340mm) Three Panel Sliding Door w/Timber Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
138 |  | (D.03/D4) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
139 |  | (D.03/D5) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
140 |  | (D.03/D6) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
141 |  | (D.03/D7) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
142 |  | (D.03/D8) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
143 |  | (D.03/D9) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 333.68 | 333.68 | 0 | 0 | 390.37
144 |  | (D.03/D10) (2400mm x 2400mm) Tilt Panel Powdercoat Door w/Metal Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
145 |  | (D.04/D1) (1020mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 355.43 | 355.43 | 0 | 0 | 412.12
146 |  | (D.04/D2) (820mm x 2040mm) Single Leaf Sliding Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
147 |  | (D.04/D3) (820mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 58.76 | 58.76 | 207.04 | 207.04 | 0 | 0 | 265.8
148 |  | (D.04/D4) (720mm x 2040mm) Single Leaf Hinged Door w/Timber Frame | 1 | EA | 51.84 | 51.84 | 157.73 | 157.73 | 0 | 0 | 209.57
149 |  | (D.04/D5) (820mm x 2400mm) Single Leaf Hinged Door w/Metal Frame | 1 | EA | 56.69 | 56.69 | 333.68 | 333.68 | 0 | 0 | 390.37
150 |  | (D.04/D6) (2400mm x 2400mm) Tilt Panel Powdercoat Door w/Metal Frame | 1 | EA | 110.32 | 110.32 | 1050.13 | 1050.13 | 0 | 0 | 1160.45
Windows
151 |  | (D.01/W1) (1800mm x 2100mm) Window w/Frame | 1 | EA | 324 | 324 | 1143.57 | 1143.57 | 0 | 0 | 1467.57
152 |  | (D.01/W2) (1800mm x 2100mm) Window w/Frame | 1 | EA | 324 | 324 | 1143.57 | 1143.57 | 0 | 0 | 1467.57
153 |  | (D.01/W3) (900mm x 2100mm) Window w/Frame | 1 | EA | 207.39 | 207.39 | 742 | 742 | 0 | 0 | 949.39
154 |  | (D.02/W1) (900mm x 2100mm) Window w/Frame | 1 | EA | 207.39 | 207.39 | 742 | 742 | 0 | 0 | 949.39
155 |  | (D.02/W2) (1800mm x 2100mm) Window w/Frame | 1 | EA | 324 | 324 | 1143.57 | 1143.57 | 0 | 0 | 1467.57
156 |  | (D.02/W3) (750mm x 2400mm) Window w/Frame | 1 | EA | 189.56 | 189.56 | 686.54 | 686.54 | 0 | 0 | 876.1
157 |  | (D.03/W1) (900mm x 2100mm) Window w/Frame | 1 | EA | 207.39 | 207.39 | 742 | 742 | 0 | 0 | 949.39
158 |  | (D.03/W2) (1800mm x 2100mm) Window w/Frame | 1 | EA | 324 | 324 | 1143.57 | 1143.57 | 0 | 0 | 1467.57
159 |  | (D.03/W3) (750mm x 2400mm) Window w/Frame | 1 | EA | 189.56 | 189.56 | 686.54 | 686.54 | 0 | 0 | 876.1
160 |  | (D.04/W1) (900mm x 2100mm) Window w/Frame | 1 | EA | 207.39 | 207.39 | 742 | 742 | 0 | 0 | 949.39
161 |  | (D.04/W2) (1800mm x 1700mm) Window w/Frame | 1 | EA | 305.43 | 305.43 | 964.39 | 964.39 | 0 | 0 | 1269.82
162 |  | (D.04/W3) (750mm x 2400mm) Window w/Frame | 1 | EA | 189.56 | 189.56 | 686.54 | 686.54 | 0 | 0 | 876.1
163 |  | (D.04/W4) (3000mm x 2700mm) Window w/Frame | 1 | EA | 347.56 | 347.56 | 1364.22 | 1364.22 | 0 | 0 | 1711.78
164 |  | (D.04/W5) (1500mm x 2400mm) Window w/Frame | 1 | EA | 289.45 | 289.45 | 1045.34 | 1045.34 | 0 | 0 | 1334.79
165 |  | (D.04/W6) (750mm x 2400mm) Window w/Frame | 1 | EA | 189.56 | 189.56 | 686.54 | 686.54 | 0 | 0 | 876.1
Architraves
166 |  | Door Architraves | 102.68 | M | 5.3 | 5.14 | 686.54 | 70493.9272 | 0 | 0 | 70499.0672
167 |  | Window Architraves | 284.2 | M | 5.3 | 5.14 | 686.54 | 195114.668 | 0 | 0 | 195119.808
Hardware
168 |  | Door Hardware | 35 | EA | 79.15 | 2770.25 | 131.09 | 4588.15 | 0 | 0 | 7358.4
169 |  | Window Hardware | 15 | EA | 47.27 | 709.05 | 51.8 | 777 | 0 | 0 | 1486.05
[10 empty] | SUBTOTAL | 307136.8492
09. FINISHES
Wall Framing
170 | PD102 PD103 | 90x45 mm Stud Wall (3m H) | 77.47 | M
171 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 516.4667 | M | 3.08 | 1590.7173 | 6.1 | 3150.4467 | 0 | 0 | 4741.164
172 |  | 90x45mm Top & Bottom Plates | 232.41 | M | 2.53 | 587.9973 | 6.14 | 1426.9974 | 0 | 0 | 2014.9947
173 |  | 10mm Plasterboard Lining | 464.82 | M2 | 19.65 | 9133.713 | 19.26 | 8952.4332 | 0 | 0 | 18086.1462
174 |  | 90x45 mm Stud Wall (3m H) | 20.18 | M
175 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 134.5333 | M | 3.08 | 414.3627 | 6.1 | 820.6533 | 0 | 0 | 1235.016
176 |  | 90x45mm Top & Bottom Plates | 60.54 | M | 2.53 | 153.1662 | 6.14 | 371.7156 | 0 | 0 | 524.8818
177 |  | 10mm Plasterboard Lining | 60.54 | M2 | 19.65 | 1189.611 | 19.26 | 1166.0004 | 0 | 0 | 2355.6114
178 |  | 10mm MR Plasterboard Lining | 60.54 | M2 | 21.21 | 1284.0534 | 23.86 | 1444.4844 | 0 | 0 | 2728.5378
179 |  | 90x45 mm Stud Wall (3m H) | 5.57 | M
180 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 37.1333 | M | 3.08 | 114.3707 | 6.1 | 226.5133 | 0 | 0 | 340.884
181 |  | 90x45mm Top & Bottom Plates | 16.71 | M | 2.53 | 42.2763 | 6.14 | 102.5994 | 0 | 0 | 144.8757
182 |  | 10mm Plasterboard Lining | 16.71 | M2 | 19.65 | 328.3515 | 19.26 | 321.8346 | 0 | 0 | 650.1861
183 |  | 9mm Villa Board Lining | 16.71 | M2 | 26.6 | 444.486 | 38.14 | 637.3194 | 0 | 0 | 1081.8054
184 |  | 90x45 mm Ext.Stud Wall (3m H) | 13.46 | M
185 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 89.7333 | M | 3.08 | 276.3787 | 6.1 | 547.3733 | 0 | 0 | 823.752
186 |  | 90x45mm Top & Bottom Plates | 40.38 | M | 2.53 | 102.1614 | 6.14 | 247.9332 | 0 | 0 | 350.0946
187 |  | 10mm Plasterboard Lining | 40.38 | M2 | 19.65 | 793.467 | 19.26 | 777.7188 | 0 | 0 | 1571.1858
188 |  | 90x45 mm Ext.Stud Wall (3m H) | 2.59 | M
189 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 17.2667 | M | 3.08 | 53.1813 | 6.1 | 105.3267 | 0 | 0 | 158.508
190 |  | 90x45mm Top & Bottom Plates | 7.77 | M | 2.53 | 19.6581 | 6.14 | 47.7078 | 0 | 0 | 67.3659
191 |  | 10mm MR Plasterboard Lining | 7.77 | M2 | 21.21 | 164.8017 | 23.86 | 185.3922 | 0 | 0 | 350.1939
192 |  | 90x45 mm Ext.Stud Wall (3m H) | 1.07 | M
193 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 7.1333 | M | 3.08 | 21.9707 | 6.1 | 43.5133 | 0 | 0 | 65.484
194 |  | 90x45mm Top & Bottom Plates | 3.21 | M | 2.53 | 8.1213 | 6.14 | 19.7094 | 0 | 0 | 27.8307
195 |  | 9mm Villa Board Lining | 3.21 | M2 | 26.6 | 85.386 | 38.14 | 122.4294 | 0 | 0 | 207.8154
196 |  | 90x45 mm Ext.Stud Wall (3.275m H) | 5.8 | M
197 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 42.2111 | M | 3.08 | 130.0102 | 6.1 | 257.4878 | 0 | 0 | 387.498
198 |  | 90x45mm Top & Bottom Plates | 17.4 | M | 2.53 | 44.022 | 6.14 | 106.836 | 0 | 0 | 150.858
199 |  | 10mm Plasterboard Lining | 18.995 | M2 | 19.65 | 373.2517 | 19.26 | 365.8437 | 0 | 0 | 739.0954
200 |  | 90x45 mm Ext.Stud Wall (3.8m H) | 27.2 | M
201 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 229.6889 | M | 3.08 | 707.4418 | 6.1 | 1401.1022 | 0 | 0 | 2108.544
202 |  | 90x45mm Top & Bottom Plates | 81.6 | M | 2.53 | 206.448 | 6.14 | 501.024 | 0 | 0 | 707.472
203 |  | 10mm Plasterboard Lining | 103.36 | M2 | 19.65 | 2031.024 | 19.26 | 1990.7136 | 0 | 0 | 4021.7376
204 |  | 90x45 mm Ext.Stud Wall (2.76m H) | 23.22 | M
205 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 142.416 | M | 3.08 | 438.6413 | 6.1 | 868.7376 | 0 | 0 | 1307.3789
206 |  | 90x45mm Top & Bottom Plates | 69.66 | M | 2.53 | 176.2398 | 6.14 | 427.7124 | 0 | 0 | 603.9522
207 |  | 10mm Plasterboard Lining | 64.0872 | M2 | 19.65 | 1259.3135 | 19.26 | 1234.3195 | 0 | 0 | 2493.633
208 |  | 90x45 mm Ext.Stud Wall (2.76m H) | 1.89 | M
209 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 11.592 | M | 3.08 | 35.7034 | 6.1 | 70.7112 | 0 | 0 | 106.4146
210 |  | 90x45mm Top & Bottom Plates | 5.67 | M | 2.53 | 14.3451 | 6.14 | 34.8138 | 0 | 0 | 49.1589
211 |  | 10mm MR Plasterboard Lining | 5.2164 | M2 | 21.21 | 110.6398 | 23.86 | 124.4633 | 0 | 0 | 235.1031
212 |  | 90x45 mm Ext.Stud Wall (2.76m H) | 2.98 | M
213 |  | 90x45mm MGP10 Studs @ 450mm O.C. | 18.2773 | M | 3.08 | 56.2942 | 6.1 | 111.4917 | 0 | 0 | 167.7859
214 |  | 90x45mm Top & Bottom Plates | 8.94 | M | 2.53 | 22.6182 | 6.14 | 54.8916 | 0 | 0 | 77.5098
215 |  | 9mm Villa Board Lining | 8.2248 | M2 | 26.6 | 218.7797 | 38.14 | 313.6939 | 0 | 0 | 532.4736
Flooring
216 |  | Conc. Sealer Flooring @ Garage (Assumption Base) | 33.52 | M2 | 3.13 | 104.9176 | 15.13 | 507.1576 | 0 | 0 | 612.0752
217 |  | Hybrid/ Laminate Flooring (Assumption Base) | 256.72 | M2 | 43.37 | 11133.9464 | 115.15 | 29561.308 | 0 | 0 | 40695.2544
218 |  | Porcelain/ Ceramic Floor Tile Flooring (Assumption Base) | 45.39 | M2 | 48.95 | 2221.8405 | 60.22 | 2733.3858 | 0 | 0 | 4955.2263
219 |  | Carpet Flooring (Assumption Base) | 2.69 | M2 | 20.55 | 55.2795 | 60.95 | 163.9555 | 0 | 0 | 219.235
220 |  | Alum. Transition Strip (Assumption Base) | 4.88 | M | 4.23 | 20.6424 | 5.31 | 25.9128 | 0 | 0 | 46.5552
Skirting
221 |  | 92mm MDF Painted Skirting (Assumption Base) | 257.72 | M | 5.3 | 1365.916 | 7.86 | 2025.6792 | 0 | 0 | 3391.5952
Ceiling
222 |  | 13mm MR Plasterboard Lining | 31.21 | M2 | 26.01 | 811.7721 | 20.18 | 629.8178 | 0 | 0 | 1441.5899
223 |  | 13mm Plasterboard Lining | 311.66 | M2 | 24.15 | 7526.589 | 20.16 | 6283.0656 | 0 | 0 | 13809.6546
224 |  | 6mm FIbre Cement Sheet | 64.85 | M2 | 18.34 | 1189.349 | 14.25 | 924.1125 | 0 | 0 | 2113.4615
Wall Finishes
225 |  | Ceramic Tile On Wall (Assumption Base) (300mm x 600mm) | 19.92 | M2 | 43.09 | 858.3528 | 55.98 | 1115.1216 | 0 | 0 | 1973.4744
Paint
Walls
226 |  | Paint On Liningboard Wall 1 Coat Sealer, 2 Coat Acrylic Paint (Assumption Base) | 850.64 | M2 | 15.93 | 13550.6952 | 3.29 | 2798.6056 | 0 | 0 | 16349.3008
Ceiling
227 |  | Paint On Ceiling | 407.72 | M2 | 13.03 | 5312.5916 | 3.61 | 1471.8692 | 0 | 0 | 6784.4608
Door
228 |  | Paint At Doors | 19 | EA | 78.2 | 1485.8 | 38.74 | 736.06 | 0 | 0 | 2221.86
Architraves
229 |  | Paint At Door Architraves | 269.84 | M | 4.34 | 1171.1056 | 0.51 | 137.6184 | 0 | 0 | 1308.724
230 |  | Paint At Window Architraves | 236.8 | M | 4.34 | 1027.712 | 0.51 | 120.768 | 0 | 0 | 1148.48
Exterior Finishes
231 |  | Horizontal Cladding (Detail Not Given) | 252.24 | M2 | 23.25 | 5864.58 | 37.89 | 9557.3736 | 0 | 0 | 15421.9536
[10 empty] | SUBTOTAL | 163707.8493
10. SPECIALTIES
Toilet Accessories
232 | PD102 PD103 | 450mm Grab Bar | 18 | EA | 34.91 | 628.38 | 152.25 | 2740.5 | 0 | 0 | 3368.88
233 |  | 750mm Grab Bar | 19 | EA | 34.91 | 663.29 | 166.26 | 3158.94 | 0 | 0 | 3822.23
234 |  | 900mm Grab Bar | 10 | EA | 34.91 | 349.1 | 175.2 | 1752 | 0 | 0 | 2101.1
235 |  | Tissue Paper Dispenser | 11 | EA | 17.41 | 191.51 | 62.95 | 692.45 | 0 | 0 | 883.96
236 |  | Soap Dispenser | 11 | EA | 17.41 | 191.51 | 74.73 | 822.03 | 0 | 0 | 1013.54
237 |  | Mirror | 11 | EA | 107.43 | 1181.73 | 135.11 | 1486.21 | 0 | 0 | 2667.94
238 |  | Towel Bar | 11 | EA | 23.74 | 261.14 | 77.5 | 852.5 | 0 | 0 | 1113.64
239 |  | Tooth Brush Holder | 8 | EA | 12.3 | 98.4 | 49.91 | 399.28 | 0 | 0 | 497.68
240 |  | Coat Hook | 8 | EA | 12.3 | 98.4 | 49.91 | 399.28 | 0 | 0 | 497.68
[10 empty] | SUBTOTAL | 15966.65
11. EQUIPMENT
Appliances
241 | A101 | Washing Machine | 3 | EA | 92.54 | 277.62 | 1623.96 | 4871.88 | 0 | 0 | 5149.5
242 |  | Dryer | 3 | EA | 87 | 261 | 499 | 1497 | 0 | 0 | 1758
243 |  | Dish Washer | 1 | EA | 92.54 | 92.54 | 1617.01 | 1617.01 | 0 | 0 | 1709.55
244 |  | Oven | 1 | EA | 36.36 | 36.36 | 1534.79 | 1534.79 | 0 | 0 | 1571.15
245 |  | Cooking Range | 1 | EA | 145.47 | 145.47 | 996.4 | 996.4 | 0 | 0 | 1141.87
246 |  | Range Hood | 1 | EA | 109.1 | 109.1 | 322.52 | 322.52 | 0 | 0 | 431.62
247 |  | Refrigerator | 1 | EA | 36.36 | 36.36 | 2572.6 | 2572.6 | 0 | 0 | 2608.96
[10 empty] | SUBTOTAL | 14370.65
12. FURNISHING
Joinery
| PD102 PD103 | Countertop
248 |  | (0.6m W) Countertop @ Laundary | 2.86 | M2 | 205.7 | 588.302 | 570.28 | 1631.0008 | 0 | 0 | 2219.3028
249 |  | (0.45m W ) Countertop @ Ensuite | 0.52 | M2 | 188.8 | 98.176 | 510.22 | 265.3144 | 0 | 0 | 363.4904
250 |  | (0.685m W) Countertop @ W.I.P | 4.35 | M2 | 188.8 | 821.28 | 510.22 | 2219.457 | 0 | 0 | 3040.737
251 |  | (0.7m W ) Countertop @ Kitchen | 3.27 | M2 | 188.8 | 617.376 | 510.08 | 1667.9616 | 0 | 0 | 2285.3376
252 |  | (0.5m W) Countertop @ Bath | 4.62 | M2 | 188.8 | 872.256 | 510.08 | 2356.5696 | 0 | 0 | 3228.8256
253 |  | (1.195m W x 3.195m L) Kitchen Island | 3.85 | M2 | 188.8 | 726.88 | 510.22 | 1964.347 | 0 | 0 | 2691.227
254 |  | (120mm H) Backsplash Tile | 28.94 | M | 205.7 | 5952.958 | 570.28 | 16503.9032 | 0 | 0 | 22456.8612
Cabinets/Closets
255 |  | (0.685m W x 0.9m H) Base Cabinets @ W.I.P | 6.99 | M | 188.8 | 1319.712 | 510.08 | 3565.4592 | 0 | 0 | 4885.1712
256 |  | (0.7m W x 0.9m H) Base Cabinets @ Kitchen | 4.77 | M | 188.8 | 900.576 | 510.08 | 2433.0816 | 0 | 0 | 3333.6576
257 |  | (0.3m W x 0.9m H) Upper Cabinet @ Kitchen | 4.77 | M | 188.8 | 900.576 | 510.22 | 2433.7494 | 0 | 0 | 3334.3254
258 |  | (0.6m W x 0.9m H) Base Cabinet @ laundary | 1.72 | M | 205.7 | 353.804 | 570.28 | 980.8816 | 0 | 0 | 1334.6856
259 |  | (0.5m W x 3m H) Base Cabinets @ Bath & W.I.R | 6.38 | M | 188.8 | 1204.544 | 510.22 | 3255.2036 | 0 | 0 | 4459.7476
260 |  | (0.6m W x 2.13m H) Pantry | 1.17 | M | 205.7 | 240.669 | 570.28 | 667.2276 | 0 | 0 | 907.8966
261 |  | (0.3m W x 2.13m H) Linen | 3.52 | M | 149.54 | 526.3808 | 367.46 | 1293.4592 | 0 | 0 | 1819.84
262 |  | (0.3m W x2m H) Robe | 6.29 | M | 188.8 | 1187.552 | 510.22 | 3209.2838 | 0 | 0 | 4396.8358
263 |  | (0.5m W x 2.13m H) W.I.R | 4.59 | M | 149.54 | 686.3886 | 367.46 | 1686.6414 | 0 | 0 | 2373.03
[10 empty] | SUBTOTAL | 63130.9714
22. PLUMBING
Domestic Pipes
264 | PD102 PD103 | 25mm Cold Water Service | 80.44 | M | 8.1375 | 654.5805 | 17.5 | 1407.7 | 0 | 0 | 2062.2805
265 |  | 20mm Cold Water Service | 126.44 | M | 7.6725 | 970.1109 | 16.5 | 2086.26 | 0 | 0 | 3056.3709
266 |  | 20mm Hot Water Service | 77.38 | M | 7.6725 | 593.698 | 16.5 | 1276.77 | 0 | 0 | 1870.468
267 |  | 25mm Hot Water Service | 57.15 | M | 8.1375 | 465.0581 | 17.5 | 1000.125 | 0 | 0 | 1465.1831
Waste Pipes
268 |  | 100mm | 52.87 | M | 9.0675 | 479.3987 | 19.5 | 1030.965 | 0 | 0 | 1510.3637
269 |  | 50 mm | 7.86 | M | 6.7425 | 52.9961 | 14.5 | 113.97 | 0 | 0 | 166.966
270 |  | 40 mm | 22.52 | M | 6.1612 | 138.7514 | 13.25 | 298.39 | 0 | 0 | 437.1413
Pipe
271 |  | Warm Water Services | 10.83 | M | 8.6025 | 93.1651 | 18.5 | 200.355 | 0 | 0 | 293.5201
Fitting
272 |  | 90 Degree Elbow | 153 | EA | 30.4575 | 4659.9975 | 65.5 | 10021.5 | 0 | 0 | 14681.4975
273 |  | 45 Degree Elbow | 27 | EA | 31.8525 | 860.0175 | 68.5 | 1849.5 | 0 | 0 | 2709.5175
274 |  | Tee | 33 | EA | 34.6425 | 1143.2025 | 74.5 | 2458.5 | 0 | 0 | 3601.7025
275 |  | Y-Tee | 14 | EA | 36.5025 | 511.035 | 78.5 | 1099 | 0 | 0 | 1610.035
Fixtures
276 |  | Fail Safe Balcony Overflow | 18 | EA | 39.2925 | 707.265 | 84.5 | 1521 | 0 | 0 | 2228.265
277 |  | FW: Floor Waste | 10 | EA | 35.5725 | 355.725 | 76.5 | 765 | 0 | 0 | 1120.725
278 |  | Provide ZIP 100/75 4 In 1 BCHA Hydrotap. - Provide In Joinery. allow For 400mm Wx 470mm D x350mm H Under Bench For Unit | 1 | EA | 58.125 | 58.125 | 125 | 125 | 0 | 0 | 183.125
279 |  | CO: Cleanout | 6 | EA | 40.2225 | 241.335 | 86.5 | 519 | 0 | 0 | 760.335
Valves
280 |  | Stop Valve | 14 | EA | 34.9913 | 489.8775 | 75.25 | 1053.5 | 0 | 0 | 1543.3775
281 |  | Thermostatic Mixing Valve | 4 | EA | 33.7125 | 134.85 | 72.5 | 290 | 0 | 0 | 424.85
282 |  | Non Return Valve | 1 | EA | 30.4575 | 30.4575 | 65.5 | 65.5 | 0 | 0 | 95.9575
283 |  | Reflux Valve | 2 | EA | 29.0625 | 58.125 | 62.5 | 125 | 0 | 0 | 183.125
Equipment
284 |  | Hot Water Unit | 1 | EA | 1139.25 | 1139.25 | 2450 | 2450 | 0 | 0 | 3589.25
285 |  | 1x Rheem Heavy Duty Electric Circulating System Consisting Of - 1x Rheem 613 315 Heavy Duty Electric Water Heater - 3 x 3.6kW Heating Elements - 2x GRUNDFOS 32-80B. DUTIES: 0.5L/s @ 0.1m | 1 | EA | 1604.25 | 1604.25 | 3450 | 3450 | 0 | 0 | 5054.25
286 |  | Water Meter | 3 | EA | 160.425 | 481.275 | 345 | 1035 | 0 | 0 | 1516.275
287 |  | Pump | 2 | EA | 767.25 | 1534.5 | 1650 | 3300 | 0 | 0 | 4834.5
[10 empty] | SUBTOTAL | 54999.0813
23. HVAC/MECHANICAL
288 |  | Allowance For Mechanical Ducts, Fittings & Insulation etc. (424 M2) | 1 | LS | 7000 | 7000 | 13000 | 13000 | 0 | 0 | 20000
[10 empty] | SUBTOTAL | 20000
26. ELECTRICAL
Lighting Fixtures
289 | E-101 E-102 | U1: In Ground Uplight - Mfr.: Flix - Produce Family: RDT 100 Adjustable - IP: IP65 IK10 - Dimension: 105mm H x 125mm Dia | 13 | EA | 53.475 | 695.175 | 115 | 1495 | 0 | 0 | 2190.175
290 |  | W2: Wall Mounted Led Light - Mfr.: LIGMAN - Produce Family: LEEDS 4 - IP: IP65 IK07 - Dimension: 238mm W x 645mm H x 708mm D | 25 | EA | 52.08 | 1302 | 112 | 2800 | 0 | 0 | 4102
291 |  | D1: Surface Mounted Rectangular Downlight - Mfr.: IGUZZINI - Product Family: Laser Blade Inout Celing - Finsh: TBC | 32 | EA | 51.15 | 1636.8 | 110 | 3520 | 0 | 0 | 5156.8
292 |  | E1: Led Surface Mounted Non- Maintained Emergency Luminare | 8 | EA | 54.87 | 438.96 | 118 | 944 | 0 | 0 | 1382.96
293 |  | L4: : Led Linear On Adjustable Bracket w/ Optic Control - Mfr.: Coolon Jadecross - Product Family: STR-Multo IP - Finish: IP66 IK08 - Dimension: 20mm W x 22.5mm H | 21 | EA | 67.425 | 1415.925 | 145 | 3045 | 0 | 0 | 4460.925
294 |  | L3: Integrated Led Linear W/ Pelmet - Mfr.: Coolon Jadecross - Product Family: STR-Multo IP - Finish: IP66 IK08 - Dimension: 20mm W x 22.5mm H | 4 | EA | 63.24 | 252.96 | 136 | 544 | 0 | 0 | 796.96
295 |  | LED Exit Sign Compelet Battery Pack In Sustained Mode | 9 | EA | 61.38 | 552.42 | 132 | 1188 | 0 | 0 | 1740.42
296 |  | A1: Surface Mounted Batten - Mfr.: Pierlite - Produce Family: VANDALUX OPAL LUMEN SELECT 4FT GEN 2 - IP: IP65IK06 - Dimension: 83mm W x 99mm H x 50mm D | 3 | EA | 59.52 | 178.56 | 128 | 384 | 0 | 0 | 562.56
297 |  | NO Mountained Surface Emergency Fluorescent batten Complete w/ Intergral emergecny Gear | 1 | EA | 76.725 | 76.725 | 165 | 165 | 0 | 0 | 241.725
Power Items
298 |  | MCP: Philips Dynalite Colour Touchscreen 4.3 (DTP100) - Mfr.: TBC - Family Product: TBC - Finish: TBC | 1 | EA | 41.2223 | 41.2223 | 88.65 | 88.65 | 0 | 0 | 129.8723
299 |  | Control Panel | 1 | EA | 160.425 | 160.425 | 345 | 345 | 0 | 0 | 505.425
300 |  | Double 10A Switched GPO | 2 | EA | 21.1575 | 42.315 | 45.5 | 91 | 0 | 0 | 133.315
301 |  | Double 10A Switched GPO (WP) | 4 | EA | 22.5525 | 90.21 | 48.5 | 194 | 0 | 0 | 284.21
302 |  | Distribution Switch Board (Detail Are Not Given) | 4 | EA | 29.0625 | 116.25 | 62.5 | 250 | 0 | 0 | 366.25
303 |  | Direct Electrical Connection (1N/20A) | 2 | EA | 25.6448 | 51.2895 | 55.15 | 110.3 | 0 | 0 | 161.5895
304 |  | Autodoor Access Control Compelte w/ Door Release & Reed Switch | 2 | EA | 53.568 | 107.136 | 115.2 | 230.4 | 0 | 0 | 337.536
305 |  | Single 15A Switched GPO | 1 | EA | 16.368 | 16.368 | 35.2 | 35.2 | 0 | 0 | 51.568
306 |  | Solar Inverter | 2 | EA | 534.75 | 1069.5 | 1150 | 2300 | 0 | 0 | 3369.5
307 |  | 1 Gang Light Switch - Mfr.: TBC - Family Product: TBC - Finish: TBC | 1 | EA | 30.4575 | 30.4575 | 65.5 | 65.5 | 0 | 0 | 95.9575
Sensor
308 |  | Motion sensor (Recessed Into Ceiling Where Possible Or Surface Mounted Otherwised) - Mfr.: TBC - Family Product: TBC - Finiah: TBC | 6 | EA | 27.1095 | 162.657 | 58.3 | 349.8 | 0 | 0 | 512.457
309 |  | Wall Mounted Motion Sensor | 6 | EA | 22.599 | 135.594 | 48.6 | 291.6 | 0 | 0 | 427.194
Communication
310 |  | Telecommunication Rack | 1 | EA | 123.225 | 123.225 | 265 | 265 | 0 | 0 | 388.225
311 |  | Colour CCTV Fixed Camera Compelet w/ Mounting Bracket & Domed Protector Housing (WP) | 7 | EA | 217.62 | 1523.34 | 468 | 3276 | 0 | 0 | 4799.34
312 |  | Colour CCTV Fixed Camera Compelet w/ Mounting Bracket & Domed Protector Housing | 2 | EA | 214.83 | 429.66 | 462 | 924 | 0 | 0 | 1353.66
Panels
313 |  | (1740mm x 5280mm) 330W Solar Panels On Roof | 16 | EA | 160.425 | 2566.8 | 345 | 5520 | 0 | 0 | 8086.8
Allowance
314 |  | Wiring & Conduits | 364 | M | 3.5573 | 1294.839 | 7.65 | 2784.6 | 0 | 0 | 4079.439
[10 empty] | SUBTOTAL | 45716.8632
31. EXCAVATION
Excavation
315 |  | Excavation For Footings | 0.8931 | M3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
316 |  | Backfill | 0.22 | M3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | SUBTOTAL | 0
32. EXTERIOR IMPROVEMENTS
HardScapes
317 | PD101 | PT1: Plain Grey Conc. w/ SL72 Mesh Materials: 100mm Depth Grey Conc. Colour: Natural | 16.8 | M2 | 15.1125 | 253.89 | 32.5 | 546 | 0 | 0 | 799.89
318 |  | Subgrade: 100mm Compacted To Achieve 97% Modified MDD | 16.8 | M2 | 7.6725 | 128.898 | 16.5 | 277.2 | 0 | 0 | 406.098
319 |  | PT2 Coloured Conc. w/ SL72 Mesh Materials: 100mm Depth Integrally Coloured Grey Concrete. Colour: Lemongrass | 584.73 | M2 | 16.0425 | 9380.531 | 34.5 | 20173.185 | 0 | 0 | 29553.716
320 |  | PT2 Coloured Conc. w/ SL72 Mesh Materials: 100mm Depth Integrally Coloured Grey Concrete. Colour:Cobalt Blue | 91.11 | M2 | 16.5075 | 1503.9983 | 35.5 | 3234.405 | 0 | 0 | 4738.4033
321 |  | Subgrade: 100mm Compacted To Achieve 97% Modified MDD | 676 | M2 | 7.6725 | 5186.61 | 16.5 | 11154 | 0 | 0 | 16340.61
322 |  | Streetbond Applied Finish Colour: Safety Blue | 159 | M2 | 13.2525 | 2107.1475 | 28.5 | 4531.5 | 0 | 0 | 6638.6475
323 |  | Painted Handball Courts Streetbond Applied Finish, Colour: White | 281.98 | M | 21.1575 | 5965.9919 | 45.5 | 12830.09 | 0 | 0 | 18796.0819
324 |  | Expansion Joint | 27.14 | M | 3.6503 | 99.0678 | 7.85 | 213.049 | 0 | 0 | 312.1168
325 |  | PT3 Artificial Turf On (100mm Thick )Concrete w/ SL72 Mesh Impact Attenuation Layer Colour: Urban Active Plus | 49.44 | M2 | 9.9975 | 494.2764 | 21.5 | 1062.96 | 0 | 0 | 1557.2364
326 |  | Subgrade: 100mm Compacted To Achieve 97% Modified MDD | 49.44 | M2 | 7.6725 | 379.3284 | 16.5 | 815.76 | 0 | 0 | 1195.0884
327 |  | PT4: Modwood Decking Board | 31.3 | M2 | 6.2775 | 196.4858 | 13.5 | 422.55 | 0 | 0 | 619.0358
328 |  | HDG Steel Joist Nom. 100x50mm @ 400mm O.C. (31 M2) | 77.5 | M | 8.1608 | 632.4581 | 17.55 | 1360.125 | 0 | 0 | 1992.5831
329 |  | HDG Steel Post 100x100mm (1.4m H) | 22 | EA | 40.2225 | 884.895 | 86.5 | 1903 | 0 | 0 | 2787.895
330 |  | 300mm Dia x 460mm H Conc. Footing | 22 | EA | 53.568 | 1178.496 | 115.2 | 2534.4 | 0 | 0 | 3712.896
331 |  | HDG Steel Bearers Nom. 200x75mm | 16 | M | 19.2975 | 308.76 | 41.5 | 664 | 0 | 0 | 972.76
332 |  | 1000x500x500 Sandstone Blocks | 17 | EA | 40.6875 | 691.6875 | 87.5 | 1487.5 | 0 | 0 | 2179.1875
333 |  | CE: Concrete Edge (200mm x 100mm) w/ 200x100mm Steel Mesh | 28.91 | M | 10.9275 | 315.914 | 23.5 | 679.385 | 0 | 0 | 995.299
334 |  | Control Joint | 7.25 | M | 3.5573 | 25.7901 | 7.65 | 55.4625 | 0 | 0 | 81.2526
335 |  | 100x65mm Conc. Haunch | 29 | M | 10.9275 | 316.8975 | 23.5 | 681.5 | 0 | 0 | 998.3975
336 |  | Conc. Haunch @ Stone Boulder | 0.4374 | M2 | 15.6472 | 6.8441 | 33.65 | 14.7185 | 0 | 0 | 21.5626
337 |  | (200mm W x 400mm H) 150 Series Conc. Block Wall w/ 150 Series Conc. Capping Block | 2.95 | M | 20.6925 | 61.0429 | 44.5 | 131.275 | 0 | 0 | 192.3179
338 |  | Heelsafe Grate | 2 | EA | 86.2575 | 172.515 | 185.5 | 371 | 0 | 0 | 543.515
Drainage Pipe
339 |  | Unsleeved 100mm HDPE Subsoil Drain | 21 | M | 10.4625 | 219.7125 | 22.5 | 472.5 | 0 | 0 | 692.2125
340 |  | Excavation | 1.701 | M3 | 78.5 | 133.5285 | 0 | 0 | 0 | 0 | 133.5285
341 |  | (200mm W x 405mm H ) 20mm Drainage Screenings | 1.53 | M3 | 146.7075 | 224.4625 | 315.5 | 482.715 | 0 | 0 | 707.1775
Furniture
342 |  | F01: Monaco Bench Code/Name: Monaco 62 Bench Materials/Colour: Powder Coated Frame, Black Satin | 3 | EA | 216.225 | 648.675 | 465 | 1395 | 0 | 0 | 2043.675
343 |  | F02 Monaco Seat Code/Name: Monaco 62 Seat Materials/Colour: Powder Coated Frame, Black Satin | 4 | EA | 192.975 | 771.9 | 415 | 1660 | 0 | 0 | 2431.9
344 |  | F03 Tomaro Bin: Tamora-240L-1 Materials/Colour: Powder Coated Frame, Black Satin | 3 | EA | 120.9 | 362.7 | 260 | 780 | 0 | 0 | 1142.7
Softscapes
345 |  | ST1 General Garden Bed Cultivation: 100mm Depth Topsoil: 300mm Depth Topsoil A Mulch: 75mm Depth 1 inch Hoop Pine Mulch | 57.57 | M2 | 10.9275 | 629.0962 | 23.5 | 1352.895 | 0 | 0 | 1981.9912
346 |  | ST2 Planting Within TPZ Cultivation: 100mm Depth Topsoil: Topsoil A Mulch: 75mm Depth 1 inch Hoop Pine Mulch | 28.53 | M2 | 9.0675 | 258.6958 | 19.5 | 556.335 | 0 | 0 | 815.0308
Landscaping
Tree
347 |  | HAR PEN: Tulip Wood - Species: Harpulia Pendula - Potsize: 45 L | 3 | EA | 12.3225 | 36.9675 | 26.5 | 79.5 | 0 | 0 | 116.4675
Shrubs
348 |  | COR PET: Broad Leafed Palm Lily - Species: Cordyline Petiolaris - Potsize: 200 mm | 6 | EA | 7.6725 | 46.035 | 16.5 | 99 | 0 | 0 | 145.035
349 |  | HYM LUS: Native Frangipani (DWARF) - Species: Hymenosporum Flavum 'Lushious' - Potsize: 200 mm | 40 | EA | 5.3475 | 213.9 | 11.5 | 460 | 0 | 0 | 673.9
350 |  | MEL AFF: Blue Tongue - Species: Melastoma Affine - Potsize: 250 mm | 3 | EA | 7.2075 | 21.6225 | 15.5 | 46.5 | 0 | 0 | 68.1225
Grasses And Clumping
351 |  | ALP CAE: Native Ginger - Species: Alpinia Caerulea - Potsize: 140 mm | 33 | EA | 7.3703 | 243.2183 | 15.85 | 523.05 | 0 | 0 | 766.2682
352 |  | DIA LJ: Little Jess Flax Lily - Species: Dianella Caerulea 'Little Jess' - Potsize: 140 mm | 44 | EA | 8.2073 | 361.119 | 17.65 | 776.6 | 0 | 0 | 1137.719
353 |  | LIR EG: Evergreen Giant - Species: Liriope 'Evergreen Giant' - Potsize: 140 mm | 97 | EA | 7.5097 | 728.4457 | 16.15 | 1566.55 | 0 | 0 | 2294.9958
Groundcovers
354 |  | ADI HIS: Rosy Maidenhair Fern - Species: Adiantum Hispidulum - Potsize: 140 mm | 12 | EA | 5.2313 | 62.775 | 11.25 | 135 | 0 | 0 | 197.775
355 |  | CIS ANT: Kangaroo Vine - Species: Cissus Antarctica - Potsize: 140 mm | 8 | EA | 6.8123 | 54.498 | 14.65 | 117.2 | 0 | 0 | 171.698
356 |  | MYO ELL: Coastal Myoporum - Species: Myoporum Ellipticum - Potsize: 140 mm | 28 | EA | 6.1148 | 171.213 | 13.15 | 368.2 | 0 | 0 | 539.413
357 |  | GRE BR: Grevillea 'Bronze Rambler' - Species: Grevillea 'Bronze Rambler' - Potsize: 140 mm | 8 | EA | 5.7893 | 46.314 | 12.45 | 99.6 | 0 | 0 | 145.914
[10 empty] | SUBTOTAL | 111640.1137
33. UTILITIES
Allowances
358 |  | Utilities Allowance (302 M2) | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | SUBTOTAL | 0
SUBTOTAL CONSTRUCTION COST | [10 empty] | 1324843.6932
PROFIT | [9 empty] | 15% | 198726.554
TOTAL PROJECT COST | [10 empty] | 1523570.2472
GST | [9 empty] | 10% | 152357.0247
TOTAL PROJECT COST INCL. GST | [10 empty] | 1675927.2719
NOTES:
General Notes: The prices used while preparing the estimate were taken from Cordell Platinum online i.e. the standard pricing. So, it is preferred to review the prices.
|  | Note | [5 empty] | Legend
| 1 | The drawings are scaled as per the mentioned scales on the plans. | [5 empty] | KG's = Kilogram
M2= Meter Square
M = Meter
EA = Each
M3 = Meter Cube
LOC = Location
LS = Lum Sum